| ## Determinants of damaged or poor quality supplies |  |
| --- | --- |
| Packaging, look for: Broken or ripped packaging (vials, bottles, boxes, etc.) | Labels, look for: Missing labels Incomplete information on labels Unreadable language or print on labels Altered expiry date or other information |
| If liquids, look for: Discoloration Cloudiness Sediments Broken seal on bottle Cracks in ampoule, bottle or vial Dampness or moisture in packaging Torn or ripped packaging | If tablets (pills), look for: Discoloration Crumbled pills Missing pills (from blister pack) Stickiness (especially coated tablets) Unusual smell |
| If capsules, look for: Discolouration Stickiness Crushed capsules | If injectables, look for: Liquid not returning to suspension after shaking |
| If sterile products (including intrauterine devices), look for: Torn or ripped packaging Missing parts Broken or bent parts Moisture inside the packaging Stained packaging | If tubes, look for: Stickiness Leaking contents Perforations or holes in the tube |
| If foil packs, look for: Perforations in the packaging | If latex products, look for: Dryness Brittleness Cracks |
| If lubricated latex products, look for: Sticky packaging Discolored product or lubricant Stained packaging Leakage of the lubricant (moist or damp packaging) | If chemical reagents, look for: Discoloration |

Source: Handbook of Supply Management at First-Level Health Care Facilities,

Working Document for Field Testing and Review, World Health Organization, 2006